# Management of Hazardous Spills Using STARR

(Secure Telephone Abate Recover Remediate)

Secure        	Wear proper PPE, act quickly, evacuate site and keep people a safe distance from site.

Telephone  	1.  If an immediate emergency threat to people - Dial 911

2.  Call the Minnesota Duty Officer - 800-422-0798 or 651-649-5451

3.  If the material is classified as hazardous or extremely hazardous, and is over the reportable quantity, call the National Response Center - 800-424-8802

4.  Contact the Management Resources Regional Supervisor through the Regional Forestry Duty Officer -

Northwest Region	218-766-0551

Northeast Region	218-244-1059

Central Region		651-259-5742

Abate     	Stop further leakage and contain from spreading with the use of on-site means/materials.

Recover        As specified by Minnesota Duty officer. Excavate soil, pump water, and store properly.

Remediate   Follow directions of Minnesota Duty Officer. Spread on site, treat soil, incinerate, or dispose of contaminated material properly at a Hazardous Materials Facility.